GENERAL NOTES

- Before putting the air conditioner into operation, it is necessary to read the operating instruction supplied by the producer.

- The air conditioner must not be used for purposes other than its original function.

- It must be kept in mind that the long-term direct impact of the cold or warm air from the air conditioner and the impact of the excessively cold or excessively hot air may result in weakening of the body and cold.

PRIMARY CONDITIONS OF SAFE USE

- The air conditioner must not be used for the cooling of precision instruments, food, plants, animals or works of art, because this may have an adverse impact on their appearance, quality and/or durability.

- Plants and animals must not be exposed directly to an air stream from the device, because this may bring adverse consequences.

- Devices with an open flame must not be placed in areas exposed to an air stream from the air conditioner, because it may have an adverse impact on combustion in the burner.

- Air inlets and outlets must not be blocked. Difficulties in the flow of the air may lead to insufficient efficiency or other problems.

- Sitting on the external device, putting objects on the device or pulling the device is prohibited. Such conduct may lead to accidents, such as falling and injuries, the improper operation or damage of the device.

- Objects sensitive to humidity must not be placed directly under the internal or external device. In certain conditions, the condensation of humidity on the main device or conduits of the refrigerant, the contamination of the air filter or the blocking of the outflow of condensates may result in trickling of water, thus causing the contamination or destruction of these objects.

- To avoid injuries, air inlets and aluminium ribs of the external device and the internal device must not be touched.

- The device is not to be used by children and infirm persons without supervision. Failure to comply with the above recommendations may result in weakening of the body and the deterioration of health.

- Children must not be left without supervision or allowed to play with the air conditioner or the remote control. If the device is accidentally put into operation by children, this may result in weakening of the body and the deterioration of health.

- Internal and external devices must not be subjected to excessive pressure, otherwise the product may be damaged.

- Flammable materials, such as aerosol cans, must not be placed within a radius of 1 m from the air outlet. Aerosol cans may explode as a result of the impact of warm air from the internal or external device.

- It must be ensured that animals do not relieve nature near the device. Wetting of the device may result in short circuit or fire.

- In order to avoid fire, explosion or bodily injury, the device must not be used if the presence of hazardous gases, including flammable or chemically aggressive gases, has been detected near it.

PROHIBITED ACTIVITIES

- Inserting fingers, bars or any other objects into the air inlet or outlet is prohibited. Touching quickly rotating fan blades may lead to the improper operation of the device, damage of the product or bodily injury.

- Repairing, disassembling, assembling or modifying the air conditioner is prohibited, because this may result in electric shock or fire. Flammable gas containers must not be used near the air conditioner, otherwise a fire may break out.

- In order to avoid electric shock, it is necessary to avoid operating the device with wet hands.

- The air conditioner must not be washed with water, because this may result in electric shock or fire.

- Water containers (such as flower vases) must not be placed over the devices, because this may result in electric shock or fire.

HOW TO ACT IN EMERGENCY CASES

- Every accident or breakdown must be reported immediately to an employee of the administration office of HC, and the site of the event must be left in the same condition in which the accident occurred.

- In the case of a fire threat, an employee of the administration office of HC must be notified immediately.

- In the case of a fire, it is necessary to make an attempt to extinguish it immediately by means of hand extinguishers, and if this is impossible – act as specified in the fire safety instruction.

GENERAL NOTES

- Any matters not regulated in this Instruction must always be reported to an employee of the administration office of HC.

- In any matters not regulated in this Instruction, other regulations valid on the premises of JUCM shall apply.

- Persons not complying with rules specified in this instruction may be asked to leave the building by an employee of the administration office of HC.

| Prepared by: |  | Approved by: |
| --- | --- | --- |